## Summary
AEO Water and Carbon Leadership Program Annual Results
Facility name | SUN HING TEXTILES (HONG KONG) LTD / Fujian Longyan
Vendor | --
Agent | No agent
Facility type | Non denim mills
Scorecard update date | 2024-01-31
Higg Index FEM | Completed and Posted
Wastewater Testing | Completed
Year | Year 2023 | Year 2024 | Year 2025 | Year 2026 | Year 2027 | Year 2028 | Year 2029 | Aggregate based on combined performance across all KPIs
Water management | [7 empty] | Evaluated mainly through Higg verification and wastewater testing results. | bar: Completed Year 2023
Wastewater management | bar: Completed Year 2023
Chemicals management | bar: Completed Year 2023
Water - Overall | bar: Completed Year 2023
Carbon - Overall | bar: Completed Year 2023
Best Practices | [7 empty] | Based on factory self-reporting + Higg verification | bar: Completed Year 2023
Sustainability Technology | bar: Completed Year 2023
Benchmarks | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Annual production volume (pcs / meter)
Annual production volume (kg) | Completed Year 2023: 9582984
Total Freshwater consumption (m3) | Completed Year 2023: 2317077
Total recycled water consumption (m3) | Completed Year 2023: 0
Water recycling rate (%) | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | for factories with onsite treatment
Facility water use intensity (m3/pcs or meter) (Freshwater + Recycled water) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Facility water use intensity (m3/pcs or meter) (Freshwater) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | not relevant in for 2017
Facility water use intensity (m3/kg) (Freshwater) | 0.24179 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Wastewater quality
| Water use intensity change (in pcs/ meter): | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Energy consumption (MJ) | Completed Year 2023: 629888598.8
Annual production volume unit | Completed Year 2023: Kilogram
Facility energy consumption intensity (MJ/unit) | 65.7299 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total GHG emission (kgCO2e) - exclude biomass and renewable energy | Completed Year 2023: 39941852.94
Facility GHG emission intensity - exclude biomass and renewable energy (kgCO2e/unit) | 4.168 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Energy consumption intensity change: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| GHG emission intensity change: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
electricity
purchased steam

## KPIs_3
Year of Req. | KPI | KPI description | How to capture KPI data如何捕获KPI数据 | Relevant tool(s)相关工具 | Environmental aspect环境方面 | Achieved (2023)?2023年实现了吗 | Status | Factory progress
2024 | Basic chemicals management | (refer to FEM 3.0 Chemicals Management question requirements) | Partial yes / Yes on Higg FEM Chemicals Management Q1 (chemical inventory) | Higg FEM 3.0 | Chemicals 化学品 | Yes
2024 | Basic chemicals management | (refer to FEM 3.0 Chemicals Management question requirements) | Partial yes / Yes on Higg FEM Chemicals Management 2 (SDSs) | Higg FEM 3.0 | Chemicals 化学品 | No | Please check the verifier comments and conduct corrective action plans.
2024 | Basic chemicals management | (refer to FEM 3.0 Chemicals Management question requirements) | Partial yes / Yes on Higg FEM Chemicals Management 3 (chemical training) | Higg FEM 3.0 | Chemicals 化学品 | Yes
2024 | RSL / MRSL management | (refer to FEM 3.0 Chemicals Management question requirements) | Partial yes / Yes on Higg FEM Chemicals Management Q7 (chemicals procurement policy) | Higg FEM 3.0 | Chemicals 化学品 | Yes
2024 | Wastewater testing and reporting | Wastewater is tested annually against ZDHC wastewater guidelines Test reports are shared with AEO | Collection of current year's wastewater test report from an approved laboratory. Check that test results cover all required parameters OR require use of ZDHC labs with ClearStream report to be provided by factories | Higg FEM 3.0 / Testing reports | Wastewater废水 | Yes
2024 | Tracking of wastewater discharge | The quantity of all wastewater discharged outside the facility must be reported. Quantities should be tracked using invoices or meters, estimations are acceptable only for wastewater from domestic uses. | Full yes on Higg FEM Wastewater Q1 (Industrial/Domestic/Combined wastewater volume). Sub-Q on measurement method | Higg FEM 3.0 | Wastewater废水 | No | Please start tracking the wastewater discharge amount asap.
2024 | Tracking of water sources used in the facility | The quantity of all incoming water sources to the facility must be reported. Quantities should be tracked using invoices or meters, estimates are only acceptable for water sources covering <10% of total water use. | Full yes on Higg FEM Water Use Q1 (water sources) | Higg FEM 3.0 | Water Use用水 | Yes
2024 | Tracking of water sources used in the facility | The quantity of all incoming water sources to the facility must be reported. Quantities should be tracked using invoices or meters, estimates are only acceptable for water sources covering <10% of total water use. | Full yes on Higg FEM Energy Q1 sub-Q purchased steam and chilled water are tracked. Sub-Q on measurement method | Higg FEM 3.0 | Water Use用水 | NA
2024 | MRSL / RSL Chemical Certificates | Dyestuff and chemical formulations with ZDHC Level 1 or equivalent MRSL/ RSL Certificates >30% | Chemical inventory | WCLP Report card | Chemicals 化学品 | Yes | Please include chemicals for non-AEO products in the CIL and share with AEO by January, 2024
NA | ZDHC approved digital chemical management tool | Use ZDHC approved digital chemical management tool (BVE3 or Bhive) to share chemical inventory with AEO regularly | Chemical inventory | WCLP Report card | Chemicals 化学品 | No
2024 | Tracking of all energy sources used in the facility | The quantity of all energy sources used at the facility must be reported. Quantities should be tracked using invoices or meters, estimates are only acceptable for energy sources covering <10% of total energy use. | Full yes on Higg FEM Energy Q1 | Higg FEM 3.0 | Carbon 碳排放/ 能源 | Yes
2024 | Feasibility study on replacing coal-fired boiler | Conduct feasibility study on coal-fired boilers. Understand the technology available / energy fuel option / investment / environmental impact | Feasibility study report | WCLP Report card | Carbon 碳排放/ 能源 | NA
2024 | Feasibility study on renewable energy | Conduct feasibility study on solar rooftop / purchase agreement of renewable energy. Understand the technology available / ROI / environmental impact | Feasibility study report | Higg FEM 3.0 | Carbon 碳排放/ 能源 | No | Installed. please input into the FEM2023 next year.
2024 | GIZ Climate Action Training | Complete the GIZ Climate Action Training (Self-Paced / online course with tutor) . Pass the final exame and share the certificates with AEO | Course completion certificate | Others | Carbon 碳排放/ 能源 | No | Please complete the GIZ Climate Action Training by January, 2024
2024 | aii CTA / CLP program | Complete CTA / CTA + | CTA / CLP tools | Others | Carbon 碳排放/ 能源 | No | Not yet done. AEO will arrange accordingly.
2024 | IPE | Account registration | IPE platform | IPE | Carbon 碳排放/ 能源 | Yes

## BP_Water
Stage | Aspects | KPI | Factory Self-report (Yes / No / NA) | Suggested information for self-report (Column G) | Description by Factory
1 | Water reuse / recycle | Employee awareness in water conservation (e.g. training) 员工对节约用水的认识 (如培训) | Yes | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | By oganizing relevant training and posting relevant slogans in public to promote awareness of water conservation.Attached:The training record and the picture of posted slogans.
1 | Water reuse / recycle | Install low-flow aerator for all of the faucets to restrict the flow rate to 4-5L/min which is suitable for domestic use while maintaining similar pressure (standard flow rate in LEED is less than 3L/min) 工厂内生活用水, 使用低流量水龙头, 将流量限制在 4-5 l/min | Yes | All: What is the average flow rate (L/min) of faucets at facility for domestic use 生活用水水龙头的平均流量 (l/min) 是多少？ Yes: Please put "NA" under description No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | The average flow rate of faucets at facility for domestic use is 4.5 L/min.
1 | Steam | Maintenance - Fixing water and steam leaks, steam traps. 维护- 水和蒸汽泄漏,维护水蒸气阀门 | YES | Yes: Please advise 1) the name of the responsible person; 2) how often he/ she checks on water / steam leaks and steam traps; 3) provide checking and maintenance records if any No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | Different departments have different responsibilities,Such as Yufa Huang in finishing department,Guangchuang Wen in dyeing department; They check it one time per day as usually.Attached:The checking record and the checking photoes.
1 | Steam | Insulation for steam pipe to reduce heat loss and additional steam required for heating 水蒸气管道隔热层以减少热能流失和加热所需的额外蒸汽 | YES | Yes: Please provide some pictures showing insulation for steam pipe is in place. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | Attached:The picture of insulated steam pipes.
1 | Steam | Insulation for washing tanks / Dry Cans if possible to reduce heat loss and additional steam required for heating (if applicable) 对洗涤缸/干燥罐进行隔热以减少热量损失和加热所需的额外蒸汽 (如適用) | YES | Yes: Please provide some pictures showing insulation is in place. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | Attached:The picture of insulated equipments.
2 | Steam | Condensate recovery and reuse from heating / drying /finishing machines 冷凝水回收再利用 (烘干机, 后整机) | YES | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | The condensed water is collected in the hot water tank and reused for production.Attached:The picture of recovery condensate pipes and cans.
2 | Water reuse / recycle | Reuse cooling water from - singeing machine - preshrinking - circulating pump - air compressor - mercerizing machine 冷却水回收再利用 (烧毛机/ 预压 /循环泵 /空压机/丝光机) | YES | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | The cooling water is collected and reused for production. Attached:The picture of reused cooling pipes.
2 | Water reuse / recycle | Reuse process water (before treatment) 工艺用水回收再利用 E.g. Reuse last-stage rinse water / from mercerizing/bleaching/ Use gray water instead of clean water in singeing scrubber/ Use gray water instead of clean water in toilets 再利用从丝光或漂白中最后阶段的冲洗水/ 使用未处理过的废水(非干清水) 于烧毛机 / 使用未处理过的废水(非干清水)于冲厕用途 | YES | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Process water before treatment used in waste gas treatment facilities. Attached:The picture of reused warter pipes and the picture of waste gas treatment facilitie's tank.
3 | Water reuse / recycle | Use treated wastewater back to production 工艺用水回收再利用 | YES | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | The wastewater is treated by ETP and reused for production. Attached:The record of reused wastewater.
2 | Submetering / auto control | Washing / Dyeing process is sub-metered (workshop level)i.e. Process water use tracking and reporting 车间安装二次水表, 记录和报告洗水用水量 | YES | Yes: Please provide a picture of the sub-meter and the related records if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | Attached:The record of reused wastewater.
3 | Submetering / auto control | Washing and dyeing process is water / energy / steam sub-metered (machine level) for specific machine types, production line etc 水洗/染色工艺特殊的机器信号,生产线等等 | YES | Yes: Please advise how many sub-meters you have installed and for what types of machines No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | The washing and dyeing machines have the flowmeter, the liquid level meter ect.
4 | Submetering / auto control | Online real-time automatic wastewater (Quality )废水监测/计量 | YES | Yes: Please put NA under description No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | NA
3 | Submetering / auto control | Regular management review of sub-metering data to identify improvement opportunities 定期对次级水表数据进行管理审查, 以找出改善机会 | YES | Yes: Please provide the sub-meter records for last month. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Each department verifies whether the water consumption meets the target requirements every month, and carry out analysis if necessary. Attached:The sub-meter records.
5 | Submetering / auto control | Online real-time automatic water / wastewater / steam monitoring (Quantity) (and if they are connecting the submeters to the ERP system) 在线实时自动用水/废水/蒸汽监测/计量 （另外有否将分表连接到ERP系统） | YES | Yes: Please describe how it is done No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Water is monitored by centralized automatic control system, and wastewater is monitored by online equipment.
3 | Chemical | Improved process management: Work with dye/chemical suppliers to optimize process and completely exhaust dyes and finishes 改进工艺管理：与染料/化学品供应商合作，优化工艺，完全耗尽染料和後整化料 | NA | Yes: Please advise how it is done (e.g. any examples showing collaboration with dye/chemical suppliers for reducing water consumption) No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Improved process is mainly to reduce water consumption and pre-and post-treatment process at present.
4 | Chemical | Report inventory compliance through ZDHC Incheck or BVE3 通过 zdhc InCHECK 或 bve3 报告化学品库存合规情况 | Yes | Yes: Please advise what tool you are using No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | We are going to use CleanChain platform to report the chemical compliance level in the first quarter 2024.
4 | Chemical | Chemicals substitution with less environmental impact in latest three years (e.g. phase out of MRSL chemicals, chemicals without disclosure on safety data, environmentally friendly dyes etc.) 最近三年内使用对环境影响较小的化学品替代品（例如淘汰MRSL限制的化学品，没有披露安全数据的化学品; 环保染料等） (E.g. indigo, desizing agents, sulphur black) | Yes | Yes: Please describe how it is done No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | We search the chemicals which are complied with ZDHC MRSL requirements.
4 | Chemical | Indigo recycling - Recovery of Indigo from the overflow or dye bath 靛蓝回收 | NA | Yes: Please describe how it is done No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | This kind of dyes is not used in the production.
4 | Chemical | Caustic Soda recycling - caustic soda (NaOH) can be cleaned and concentrated 烧碱回收 | NA | Yes: Please describe how it is done No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | The consumption and concentration of caustic soda in production are very low.
4 | Chemical | Report wastewater data using ZDHC gateway使用 ZDHC gateway报告废水数据 | YES | Yes: Please put "NA" under description No: Please put "NA" under description NA: Please put "NA" under description | NA
2 | Water reuse / recycle | Use treated wastewater back to domestic use (e.g. irrigation, sanitation, toilet flushing) 回收水再利用於生活用途 | NA | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | The local environmental authorities disapproved of this operation.
5 | Water reuse / recycle | Apply advanced technologies and infrastructure to WWTP (e.g. membrane technologies - MF/UF/NF/RO) 将先进技术和基础设施应用于污水处理厂 (例如膜技术----mf/uf/ro) | YES | Yes: Please advise what tertiary treatment technologies is available in the factory and provide the wastewater treatment plant flowchart No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | The tertiary treatment technologies have membrane technologies, such as UF, RO ect. Attached:The wastewater of low concentration treatment plant flowchart.
5 | Water reuse / recycle | Zero Liquid Discharge (ZLD) 污水零排放 | No | Yes: Please advise what technology is used for ZLD in the factory and provide the wastewater treatment plant flowchart No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Water-saving targets are set every year to achieve energy saving and emission reduction.
3 | Submetering / auto control | Centralized automatic control for timing and total water volume of overflow in dyeing process 中央控制系统自控溢流水洗时间和总水洗水量 | YES | Yes: Please describe how it is done No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Centralized automatic controls it automatically.
5 | Certificates | Green building certification (e.g. LEED) 绿色建筑认证 (如 leed) | No | Yes: Please provide the LEED certificate No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
4 | Certificates | Certificates: ISO14001 / BEPI? | YES | Yes: Please advise which certificates factory got. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | ISO14001
2 | Certificates | BCI registered spinners / fabric mills? | No | Yes: Please advise which certificates factory got. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
3 | Certificates | GOTS, GRS, RCS, OCS certified? | YES | Yes: Please advise which certificates factory got. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | GRS, RCS and OCS
4 | Certificates | Oeko tex certified? | YES | Yes: Please advise which certificates factory got. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Oeko tex
5 | Certificates | Bluesign certified? | No | Yes: Please advise which certificates factory got. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
NA | Certificates | Any other certificates? 获得业界的相关环保证书 | No | Yes: Please advise which certificates factory got. No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
3 | Certificates | Participated in industry water and energy saving program (e.g. NRDC - Clean by Design, idh - Raise to the Top, IFC - PACT, HKPC - Clean Production) 参加行业内节约能源/水的项目 | YES | Yes: Please advise which program factory has joint and which year No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Participated in industry water and energy saving program of customers' ENT Improvement.
5 | Public disclosure | Public disclosure of water footprint, wastewater quality data, chemicals use at least annually (e.g. via IPE, company website, sustainability report, ESG information in financial report) 每年向公众披露水足迹、废水质量数据、化学品使用量 (例如, 通过 ipe、公司网站、可持续性报告) | YES | Yes: Please advise how to access the public disclosed information No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Public disclosure through IPE annually.
5 | Submetering / auto control | Water balance 进行水平衡评估 | YES | Yes: Please provide the water balance report No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Attached:Water Balance Chart.
TBC | Others | Please specify: |  | Yes: Please describe the best practices No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
TBC | Others | Please specify: |  | Yes: Please describe the best practices No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
TBC | Others | Please specify: |  | Yes: Please describe the best practices No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
4 | Submetering / auto control | Auto chemical dosing system 自动加药系统 | YES | Yes: Please describe how it is done No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Automatic system controls it automatically.
4 | Submetering / auto control | Automatic control of feed water volume for continuous washing machines 工厂的连续水洗机是否使用自控给水系统控制 | YES | Yes: Please describe how it is done No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Automatic system controls it automatically.
4 | Submetering / auto control | Automatic controls, sensors for water level, temperature and timing for all pre-dyeing, dyeing and rinsing and washing processes 自动控制，用于所有预染，染色，漂洗和洗涤过程的水位，温度和时间的传感器 | YES | Yes: Please describe how it is done No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility. | Automatic system controls it automatically.

## BP_Energy
Stage | KPI | Facility type | Environmental aspect | Category | Factory Self-report (Yes / No / NA) | Suggested information for description (Column H) | Description by Factory
1 | Employee awareness in energy conservation e.g. regular training about turning off machines/ lightings at the end of the day and when not in use 提高员工在节能方面的意识，例如定期培训 - 每天下班和不使用时关闭机器/照明设备 | All | Energy and Water Use | General | Yes | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | By oganizing relevant training to promote awareness of energy conservation.Attached:The training record.
4 | Set up auto turn off system for Heating, Ventilation and Air Conditioning (HVAC) system / lighting / other systems 设置供暖，通风和空调（HVAC）系统/照明/其他系统的自动关闭系统 | All | Energy use | General | Yes | Yes: Please describe which system / facility with the auto turn off system No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | Lighting system in public is controlled by timing switch, air Conditioning (HVAC) system which is the ice- water machine is controlled by water temperature, and the constant temperature and humidity chamber in test department is controlled by constant temperature and humidity system.
2 | Energy submetering (workshop level / different departments) 安装能量计量表（车间级别/不同部门） | All | Energy Use | General | Yes | Yes: Please provide a picture of the sub-meter and the related records if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | Attached:The photos of the energy sub-meter.
2 | Water submetering (workshop level / different departments) 安装水计量表（车间级别/不同部门） | Cut-sew | Water Use | General |  | Yes: Please provide a picture of the sub-meter and the related records if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
1 | Install low-flow aerator for all of the faucets to restrict the flow rate to 4-5L/min which is suitable for domestic use while maintaining similar pressure (standard flow rate in LEED is less than 3L/min) 工厂内生活用水, 使用低流量水龙头, 将流量限制在 4-5 l/min | Cut-sew | Water Use | General |  | All: What is the average flow rate (L/min) of faucets at facility for domestic use Yes: Please put "NA" under description No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
2 | Power factor at the electrical power system of the factory >95% 工厂电力系统的功率因数 >95% | All | Energy Use | General | Yes | Yes: More than 95% (Please check the distribution panel and take a picture if possible) No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | Attached:The photos of the distribution panel.
5 | Green building certification 绿色建筑认证 (e.g. LEED) | Cut-sew | General | General |  | Yes: Please provide the LEED certificate No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
5 | Public disclosure of water footprint, wastewater quality data, chemicals use at least annually (e.g. via IPE, company website, sustainability report) 每年公开水足迹，废水质量数据，化学品使用情况 | Cut-sew | General | General |  | Yes: Please advise how to access the public disclosed information No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
2 | Other Certificate 其他证书 (e.g. Oekotex, bluesign, GOTs, RCS, LCMP, ISO14001) | Cut-sew | General | General |  | Yes: Please provide the copy of certificates No: Please describe if any plan for implementation (optional) NA: Please advise why this best practice is not applicable to the facility.
4 | Do you generate electricity from solar energy onsite / have renewable energy purchase agreement? 现场太阳能发电/ 可再生能源购买协议？ | All | Energy Use | General - Key | Yes | Yes: Please state __% of total energy consumption is from solar energy generated onsite and __% from renewable energy purchase agreement? No: Please advise if you have done any feasibility study of solar rooftop installation before and whether factory has any plan to install in future. NA: Please advise why this best practice is not applicable to the facility. | 10% around of total energy consumption is from solar energy generated onsite and partly from renewable energy purchase agreement since January,2024.
4 | Participated in industry water and energy efficiency program (e.g. Clean by Design, Raise to the Top, WWF - LCMP, WWF - energy and water efficiency program, PACT, aii- carbon leadership program and etc). 参加了行业节约用水和能源效率计划 | All | Energy and Water Use | General | Yes | Yes: Please state the name of program and the year of participation. No: NA NA: NA | Participated in industry water and energy saving program of customers' ENT Improvement.
2 | Lighting >95% LED / T5 (In general) 一般照明> 95％LED / T5 | All | Energy Use | Lighting | Yes | All: Please advise how many % of lightings are LED Yes: More than 95% No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | 100% of lightings are LED.
2 | Lighting (task light at sewing machine) - >95% LED 照明（缝纫机上的工作灯） | All | Energy Use | Lighting | Yes | All: Please advise how many % of task lights are LED Yes: More than 95% No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | 100% of lightings are LED.
3 | Set standards for lux level of light intensive area (e.g. sewing). 1) Keep the height of light fixtures to around 2 meters 2) Measure the lux level regularly. If the lux level is higher than required, adjust density of light fixtures. 制定照度水平标准（例如缝制车间）。 1）保持灯具的高度在2米左右 2）定期测量照度。 如果照度水平高于要求，请调整灯具的密度。 | Cut-sew | Energy Use | Lighting |  | Yes: 1) Please share the standards for lux level of light intensive area (e.g. sewing) . 2) What is the height (meter) of the light fixtures from the ground. 3) How often do you check the lux level by internal / external? No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
5 | Lighting (Skylighting) 照明（天窗） | All | Energy Use | Lighting | NA | Yes: Factory has introduced skylighting into the building to reduce the number of lightings (e.g. dormitory, canteen, warehouse, production floors) No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | The buildings are glass curtain walls or installed with glass windows to meet lighting requirements, and photo-voltaic power generation devices are installed on the roof.
3 | Install VSD (Variable Speed Drive) for all cooling tower fans 于冷却塔风扇安装VSD 变速驱动器 | All | Energy Use | HVAC | Yes | Yes No: Please provide an action plan with responsible person and timeline NA: No chiller system / Please advise why this best practice is not applicable to the facility.
4 | Installation of VSD (Variable Speed Drive) to all the (AHU) Air Handling Unit if centralized air conditioning system is in place. 如果已安装中央空调系统，则将VSD（变速驱动器）安装到（AHU）空气处理单元。 | All | Energy Use | HVAC | Yes | Yes No: Please provide an action plan with responsible person and timeline NA: No chiller system / Please advise why this best practice is not applicable to the facility.
2 | Install VSD for all chiller water pumps 为冷水机水泵安装VSD | All | Energy Use | HVAC | Yes | Yes No: Please provide an action plan with responsible person and timeline NA: No chiller system / Please advise why this best practice is not applicable to the facility.
1 | Regular monitoring of compressed air leakage 定期监测压缩空气泄漏 | All | Energy Use | Air compressors | Yes | Yes: If factory has dedicated persons to regularly monitor the leakage of compressed air and conduct maintenance. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | Attached:The monitoring record.
2 | Installation of VSD (Variable Speed Drive) to the air compressor 在空气压缩机上安装VSD（变速驱动器） | All | Energy Use | Air compressors | Yes | Yes No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
2 | Install duct to divert hot exhaust air from the compressor to the outside to lower inlet air temperature 安装排气管道将热的废气从压缩机转移到室外，以降低进气温度 | All | Energy Use | Air compressors | Yes | Yes No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
3 | Coal-fired boiler 淘汰燃煤锅炉 | All | Energy use | Boiler - Key | NA | Yes: No more coal fired boiler on site No: Any feasibility study done for coal-fired boiler phase out / any phase out plan and timeline? NA: Please advise why this best practice is not applicable to the facility. | There is no boiler in the mill.
2 | Boiler efficiency (>95%) 锅炉效率（95％） | All | Energy / Water Use | Boiler | NA | All: Please state the boiler efficiency %. Yes: If the boiler efficiency is 95% or more. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | There is no boiler in the mill.
1 | Insulation for steam pipe to reduce heat loss and additional steam required for heating 水蒸气管道隔热层以减少人能流失 | Cut-sew | Energy / Water Use | Boiler |  | Yes: Please provide some pictures showing insulation for steam pipe is in place. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
1 | Install steam trap on condensate pipe to limit flow of steam for ironing process 在冷凝水管上安装疏水阀，以限制熨烫过程中的蒸汽流量 | Cut-sew | Energy / Water Use | Boiler |  | Yes: Yes No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
2 | Optimize steam pressure - Lower and stabilize steam pressure (usually to around 4bar, depending on the pressure requirement of ironing machines) 调节合适的蒸汽压力,-降低和稳定蒸汽压力（通常为4巴左右，取决于熨烫的压力要求） | Cut-sew | Energy / Water Use | Boiler |  | All: Please state how much bar of steam pressure your factory is using (at boiler and also the sewing machines). Yes: Please advise name of the responsible person to maintain the steam pressure No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
2 | Condensate recovery and reuse (ironing) 冷凝水回收再利用(熨烫) | Cut-sew | Energy / Water Use | Boiler |  | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
2 (50%) 3(80%) 4(90%) | Sewing machine with servo motor (>80%) 带有伺服电机的缝纫机（> 80％） | Cut-sew | Energy Use | Machines / Process |  | All: Please advise how many % of sewing machines are equipped with servo motor. Yes: More than 80% No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
2 (50%) 3(80%) 4(90%) | Cutting machine with servo motor (>80%) 带有伺服电机的缝纫机（> 80％） | Cut-sew | Energy Use | Machines / Process |  | All: Please advise how many % of cutting machines are equipped with servo motor. Yes: More than 80% No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility.
3 | Regularly check the temperature of all pipes, valves, traps and fittings in the steam distribution system / electrical and mechanical devices (e.g. motors, equipment, electric panels) using a thermal imaging camera 定期使用热像仪检查蒸汽分配系统中所有管道，阀门，疏水阀和配件/电气和机械设备（例如，电机，设备，配电板）的温度，以预测潜在的故障。 | All | Energy Use | Machines / Process | Yes | Yes: Please provide a picture of thermal imagine camera device. How often do you check the temperature of the system/ facility? No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | One time per day as usually. Attached:The photo of thermal imagine camera of electrical devices.
2 | Install heat exchanger on stenter to recover heat from hot exhaust air to feed air. 拉幅机排热回收，用于空气预热 | Fabric mill | Energy Use | Machines / Process | NA | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | The heat temperature of hot exhaust air is too low to meet the heating requirements. At present, the steam recovered by the stenter has already met the drying machines' requirements.
4 | Install conductivity sensors at the drying machines to measure the fabric’s humidity level so as to control the steam supply valves. 在干燥机上安装电导率传感器，以测量织物的湿度水平，从而控制蒸汽供应阀。 | Fabric mill | Energy Use | Machines / Process | Yes | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any. No: Please provide an action plan with responsible person and timeline NA: Please advise why this best practice is not applicable to the facility. | Control by setting temperature and humidity.
| Others | n/a | Energy and Water Use | General |  | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any.
| Others | n/a | Energy and Water Use | General |  | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any.
| Others | n/a | Energy and Water Use | General |  | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any.
| Others | n/a | Energy and Water Use | General |  | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any.
| Others | n/a | Energy and Water Use | General |  | Yes: Please describe how it is done and provide related evidence (e.g. pictures / records) if any.

## CIL
| Chemical Inventory Template | [5 empty] | Chemical Type | No. of chemicals | With certificates | Adjusted |  | % with certificates
| Please refer to "Chemical Ref" page to understand more How to fill in the chemical inventory. | [5 empty] | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | 48 | 47 | 47 | -- | 97.92%
| Please ensure the chemical inventory is accurate and comprehensive. Random checking will be conducted annually. | [5 empty] | Chemical Formulation 化学配方 | 26 | 24 | 24 | -- | 92.31%
[7 empty] | Commodity Chemical 大化工 | 3 | 0 | 0 | -- | NA
| include AEO products? Include all commodity chemicals? | [5 empty] | Total | 77 | 71 | 71
Drop down list
|  | Chemical Formulation 化学配方 | Fabric - Scouring 面料-精练 | Yes 是
|  | Commodity Chemical 大化工 | Fabric - Dyeing 面料-染色 | No 否
|  | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Finishing 面料-后整理
Fabric - Sizing 面料-上浆
Fabric - Coating/ Overdyeing 面料-涂层/套染
Fabric - Mercerization 面料-丝光
Fabric - Desizing 面料-退浆
Fabric - Sanforizing 面料-预缩
Fabric - Printing 面料-印花
Fabric - Others 面料-其他
Garment laundry / dyeing 服装洗衣/染色
Others 其他
[10 empty] | ** Please keep the cells BLANK if certificates / testing reports are not available | [10 empty] | 0 |  | 0 |  | 0
# | SUPPLIER NAME | 化学品供应商 (Chinese) | CHEMICAL NAME | 化学品名称 (Chinese) | Dyestuff/ Chemical Formulation/ Commodity Chemical 染料/ 化学配方 / 大化工 | Main production process involved 涉及的生产过程 | TYPE OF CHEMICALS / FUNCTIONS | 化学品类型 / 功能 (Chinese) | Used for AEO bulk orders 用于AEO批量订单 | GOTS (Approved) | BLUESIGN (Approved) | ZDHC (Level 1/2/3, Certified by 3rd party) | OEKO TEX (Eco-passport) (NOT Oekotex Standard 100) | GreenScreen Certified (Bronze / Silver / Gold) | Other Screened Chemistry Program, (e.g. SciveraLENS - Green/ Yellow, ToxService ToxFMD - Level 1/2/3) | Other Certificates | Other relevant testing reports | Opportunities for energy / water saving | Remarks | Dyestuff |  | Chem formulation |  | Commodities
1 | China | 中國 | Glacial Acetic Acid | 冰醋酸 | Commodity Chemical 大化工 | Others 其他 |  |  | Yes 是 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
2 | China | 中國 | Citric Acid | 檸檬酸 | Commodity Chemical 大化工 | Others 其他 |  |  | Yes 是 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
3 | China | 中國 | Sodium Carbonate | 純鹼 | Commodity Chemical 大化工 | Others 其他 |  |  | Yes 是 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
4 | Huntsman Textile Effects | 亨斯邁 | Albaflow FFA-01 | 阿白消FFA-01 | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Defoaming agent | 消泡劑 | Yes 是 | GOTS 6.0 | Bluesign finder | Level 3 | [7 empty] | 0 | 0 | 3 | 0 | 0 | 0
5 | GUANG JIN TEXTILE MATERIALS, LT | 東莞市廣進 | SHINPHOR FNW-3 | 熒光加白劑FNW-3 | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Optical Brightening Agent | 熒光增白劑 | Yes 是 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
5 | Hangzhou Sunshine Chemicals Co. Ltd. | 杭州恒升 | Levat yellow PA-2G | 麗華特黃PA-2G | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
6 | Archroma Management GmbH | 昂高 | Nylosan Blue S-R | 尼龍山 藍 S-R | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
7 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Bestalan Yellow SFG | Bestalan Yellow SFG | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
8 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Bestalan Red SF | Bestalan Red SF | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
9 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Bestalan Bordeaux SF | Bestalan Bordeaux SF | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
10 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Red 5B | Best Acid Red 5B | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
11 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Supra Violet SF-R | Best Acid Supra Violet SF-R | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
12 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Supra Brill Blue SF-GW | Best Acid Supra Brill Blue SF-GW | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
13 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Royal Blue DR New | Best Acid Royal Blue DR NEW | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
14 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Supra Brill Green SF-6G | Best Acid Supra Brill Green SF-6G | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
15 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Supra Green SF-GW 130% | Best Acid Supra Green SF-GW 130% | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
16 | Huntsman Textile Effects | 亨斯邁 | Lanaset Yellow 4GN | 蘭納灑脫 黃 4GN | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Mixture: metal complex, acid and reactive dyes | 混合物：金屬絡合物、酸性染料和活性染料 | Yes 是 | GOTS 6.0 | Bluesign finder | Level 3 | [7 empty] | 3 | 0 | 0 | 0 | 0 | 0
17 | Huntsman Textile Effects | 亨斯邁 | Lanaset Blue 5G | 蘭納灑脫 藍 5G | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Mixture: metal complex, acid and reactive dyes | 混合物：金屬絡合物、酸性染料和活性染料 | Yes 是 | GOTS 6.0 | Bluesign finder | Level 3 | [7 empty] | 3 | 0 | 0 | 0 | 0 | 0
18 | Huntsman Textile Effects | 亨斯邁 | Erionyl Turquoise A-G | Erionyl Turquoise A-G | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 | GOTS 6.0 | Bluesign finder | Level 3 | [7 empty] | 3 | 0 | 0 | 0 | 0 | 0
19 | Huntsman Textile Effects | 亨斯邁 | Lanaset Blue PA-2R | 蘭納灑脫 藍 PA-2R | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Mixture: metal complex, acid and reactive dyes | 混合物：金屬絡合物、酸性染料和活性染料 | Yes 是 | GOTS 6.0 | Bluesign finder | Level 3 | [7 empty] | 3 | 0 | 0 | 0 | 0 | 0
20 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Milling Red Brown V | Best Acid Milling Red Brown V | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
21 | Archroma Management GmbH | 昂高 | Nylosan Brill Yellow S-10G | 尼龍山 熒光黃 S-10G | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  |  | Level 3 | [7 empty] | 1 | 0 | 0 | 0 | 0 | 0
22 | Yorkshire Asia Pacific Ltd | 約克夏 | Neutrilan Brown M-BL | 紐曲蘭 棕 M-BL | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
23 | Yorkshire Asia Pacific Ltd | 約克夏 | Seriquest AP-SN | 雪利快士 AP-SN | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Dispersing agents | 分散劑 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 0 | 0 | 2 | 0 | 0 | 0
24 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Red F-BW | Best Acid Red F-BW | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
25 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Supra Red SF-MR-1 | Best Acid Supra Red SF-MR-1 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
26 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Bestalan Olive S-G | Bestalan Olive S-G | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
27 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Bestaset Grey G 01 | Bestaset Grey G01 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
28 | Yorkshire Asia Pacific Ltd | 約克夏 | Neutrilan Brown S-GR | 紐曲蘭 棕 S-GR | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
29 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Bestalan Olive 2S-BGL H/C | Bestalan Olive 2S-BGL H/C | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
30 | Hangzhou NOAH Chemical Industry Co., Ltd | 杭州諾亞 | Nylonol PEL | 防氨綸沾鏹勻染劑 PEL | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Levelling agents | 均染劑 | Yes 是 |  |  | Level 1 | Eco-Passport | [6 empty] | 0 | 0 | 2 | 0 | 0 | 0
31 | Huntsman Textile Effects | 亨斯邁 | Lanaset Blue PA XN | 蘭納灑脫 藍 PA XN | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Mixture: metal complex, acid and reactive dyes | 混合物：金屬絡合物、酸性染料和活性染料 | Yes 是 | GOTS 6.0 | Bluesign finder | Level 3 | [7 empty] | 3 | 0 | 0 | 0 | 0 | 0
32 | Bozzeto (Ningbo) Chemicals Co., Ltd. | 卜賽特 | Permulsin DNMS LIQ/B | Permulsin DNMS LIQ./B | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Dispersing agents | 分散劑 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 0 | 0 | 2 | 0 | 0 | 0
33 | Bozzeto (Ningbo) Chemicals Co., Ltd. | 卜賽特 | Permulsin DNMS C New | Permulsin DNMS C New | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Dispersing agents | 分散劑 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 0 | 0 | 2 | 0 | 0 | 0
34 | Great Science Textile Technology Co., Ltd | 博科紡織 | Anti-yellowing Agent GS-958 | 模杯抗黃變劑 GS-958 | Chemical Formulation 化学配方 | Fabric - Finishing 面料-后整理 | Anti-yellowing Agent | 抗黃變劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
35 | Vimin Chemical Industrial Corp. | 蘇州維明 | Albenol AG-52N | PH滑動劑AG-52N | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | pH-regulators | pH 調節器 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 0 | 0 | 2 | 0 | 0 | 0
36 | Great Science Textile Technology Co., Ltd | 博科紡織 | Anti-phenolic yellowing agent GS-552 | 防酚黃劑 GS-552 | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Anti-phenolic yellowing Agent | 抗酚黃變劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
37 | Great Science Textile Technology Co., Ltd | 博科紡織 | Dyeing Optimizing Agent GS-55 | 染色優化劑 GS-55 | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Dispersing agents | 分散劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
38 | Jintex Corporation Ltd | 福盈化學 | JinlevEco NL-40 | 酸性均染劑 NL-40 | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Levelling agents | 均染劑 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 0 | 0 | 2 | 0 | 0 | 0
39 | Kunshan Mingjia Auxiliary Co., Ltd. | 昆山洺家 | Sinbafix WRF-51B | 尼龍及羊毛固色劑 WRF-51B | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Fixing agent | 固色劑 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 0 | 0 | 2 | 0 | 0 | 0
40 | Great Science Textile Technology Co., Ltd | 博科紡織 | Hydrophilic Silicone Oil GS-6001A | 尼龍親水矽油 GS-6001A | Chemical Formulation 化学配方 | Fabric - Finishing 面料-后整理 | Handle-imparting agents | 手感賦予劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
41 | Jintex Corporation Ltd | 福盈化學 | JintexyEco SQ-117 | 敷合分散劑 SQ-117 | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Dispersing agents | 分散劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
42 | Beijing CTA-Tex Chemicals Co., Ltd. | 北京中紡 | Sinial Blue NR | 賽麗爾 藍 NR | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
43 | Great Science Textile Technology Co., Ltd | 博科紡織 | Wicking Agent GS-9031 | 吸濕排汗劑 GS-9031 | Chemical Formulation 化学配方 | Fabric - Finishing 面料-后整理 | Hydrophilizing agents | 親水劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
44 | Great Science Textile Technology Co., Ltd | 博科紡織 | Creasing Preventing Agent GS-642 | 浴中防皺劑 GS-642 | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Crease prevention agent | 防皺劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
45 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Supra Brill. Yellow SF-4G | Best Acid Supra Brill. Yellow SF-4G | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
46 | Great Science Textile Technology Co., Ltd | 博科紡織 | Wicking Agent GS-9124 | 吸濕排汗劑 GS-9124 | Chemical Formulation 化学配方 | Fabric - Finishing 面料-后整理 | Hydrophilizing agents | 親水劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
47 | Argus(Shanghai) Textile Chemicals Co., Ltd. | 上海雅運紡織 | Argacid Yellow NHK | 雅格賽特 黃 NHK | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
48 | Argus(Shanghai) Textile Chemicals Co., Ltd. | 上海雅運紡織 | Argacid Red NHK | 雅格賽特 紅 NHK | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
49 | Argus(Shanghai) Textile Chemicals Co., Ltd. | 上海雅運紡織 | Argacid Grey NHK | 雅格賽特 灰 NHK | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
50 | Argus(Shanghai) Textile Chemicals Co., Ltd. | 上海雅運紡織 | Argacid Blue NHK | 雅格賽特 藍 NHK | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
51 | BeiJing CTA-Tex Chemicals Co., Ltd. | 北京中紡 | Anti-High Temperature Yellowing Agent FK-161D | 抗高溫黃變劑FK-161D | Chemical Formulation 化学配方 | Fabric - Finishing 面料-后整理 | Anti-yellowing Agent | 抗黃變劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
52 | Archroma Management GmbH | 昂高 | Nylosan Scarlet F-3GL 130 | 尼龍山 大紅F-3GL 130 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
53 | CHT R. BEITLICH GMBH | 佳和化工 | Rewin KNR-D | 固色劑Rewin KNR-D | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Fixing agent | 固色劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
54 | Great Science Textile Technology Co., Ltd | 博科紡織 | Gas Remover GS-1386 | 除氣劑GS-1386 | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Defoaming agent | 消泡劑 | Yes 是 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0
55 | Kunshan Mingjia Auxiliary Co., Ltd. | 昆山洺家 | Sinbafix AFM-991N | NYLON固色粉AFM-991N | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Fixing agent | 固色劑 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 0 | 0 | 2 | 0 | 0 | 0
56 | Great Science Textile Technology Co., Ltd | 博科紡織 | Fixing Agent GS-2302 | 中性固色劑GS-2302 | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Fixing agent | 固色劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
57 | Guang Dong Keytech High-Tech Materials Technology Co., Ltd. | 廣東科特 | KEYMORL SR-100 Conc | 高效乳化除油劑(高濃） | Chemical Formulation 化学配方 | Fabric - Dyeing 面料-染色 | Degreaser | 除油劑 | Yes 是 |  |  | Level 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
58 | Yorkshire Asia Pacific Ltd | 約克夏 | Neutrilan Bordeaux S-BR | 紐曲蘭 棗紅 S-BR | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
59 | Yorkshire Asia Pacific Ltd | 約克夏 | Neutrilan Navy S-B | 紐曲蘭 藏青 S-B | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
60 | Huntsman Textile Effects | 亨斯邁 | Lanaset Blue 2R | 蘭納灑脫 藍 2R | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Mixture: metal complex, acid and reactive dyes | 混合物：金屬絡合物、酸性染料和活性染料 | Yes 是 | GOTS 6.0 | Bluesign finder | Level 3 | [7 empty] | 3 | 0 | 0 | 0 | 0 | 0
61 | Dystar China Ltd | 德司達 | Telon Orange M-GSN 03 | 天龍 橙 M-GSN 01 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
62 | Yorkshire Asia Pacific Ltd | 約克夏 | Nylanthrene Red C-4BL | 尼龍費林 紅 C-4BL | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
63 | Archroma Management GmbH | 昂高 | Nylosan Orange S-3R | 尼龍山 橙 S-3R | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
64 | Jiangsu Dawan Digital Technology Co., Ltd. | 江蘇德旺化工 | Sunacid Red B bs | Sunacid Red B bs | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
65 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Brilliant Yellow 8GX | Best Acid Brilliant Yellow 8GX | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
66 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Best Acid Rhodamine B 400% NEW-1 | Best Acid Rhodamine B 400% NEW-1 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | Acid dyes | 酸性染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
67 | Oriental Giant Dyes & Chemical Ind. Corp | 泰鋒 | Bestalan Black D-R3 | Bestalan Black D-R3 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Dyeing 面料-染色 | 2:1 Metal complex dyes | 2:1金屬絡合染料 | Yes 是 |  | Bluesign finder | Level 3 | [7 empty] | 2 | 0 | 0 | 0 | 0 | 0
68 | Hangzhou Honghua Digital Technology Stock CO., LTD | 杭州宏華數碼 | Acid ink Blue | 酸性墨水 寶藍 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Printing 面料-印花 | Acid inks | 酸性墨水 | Yes 是 |  |  | 1 | Eco-Passport | [6 empty] | 2 | 0 | 0 | 0 | 0 | 0
69 | Hangzhou Honghua Digital Technology Stock CO., LTD | 杭州宏華數碼 | Acid ink Black | 酸性墨水 黑 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Printing 面料-印花 | Acid inks | 酸性墨水 | Yes 是 |  |  | 1 | Eco-Passport | [6 empty] | 2 | 0 | 0 | 0 | 0 | 0
70 | Hangzhou Honghua Digital Technology Stock CO., LTD | 杭州宏華數碼 | Acid ink Yellow | 酸性墨水 黃 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Printing 面料-印花 | Acid inks | 酸性墨水 | Yes 是 |  |  | 1 | Eco-Passport | [6 empty] | 2 | 0 | 0 | 0 | 0 | 0
71 | Hangzhou Honghua Digital Technology Stock CO., LTD | 杭州宏華數碼 | Acid ink Cyan | 酸性墨水 青 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Printing 面料-印花 | Acid inks | 酸性墨水 | Yes 是 |  |  | 1 | Eco-Passport | [6 empty] | 2 | 0 | 0 | 0 | 0 | 0
72 | Hangzhou Honghua Digital Technology Stock CO., LTD | 杭州宏華數碼 | Acid Ink Magenta(MB) | 酸性墨水 玫紅(MB) | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Printing 面料-印花 | Acid inks | 酸性墨水 | Yes 是 |  |  | 1 | Eco-Passport | [6 empty] | 2 | 0 | 0 | 0 | 0 | 0
73 | Hangzhou Honghua Digital Technology Stock CO., LTD | 杭州宏華數碼 | Acid Ink Orange | 酸性墨水 橙 | Dyestuff/ Pigment/ Ink 染料/颜料/油墨 | Fabric - Printing 面料-印花 | Acid inks | 酸性墨水 | Yes 是 |  |  | 1 | Eco-Passport | [6 empty] | 2 | 0 | 0 | 0 | 0 | 0
74 | Guangzhou HuaPu High-tech Material Co., Ltd | 廣州華普 | Vecole AF-5 | 酸性印花糊料AF-5 | Chemical Formulation 化学配方 | Fabric - Printing 面料-印花 | Print pastes | 印花漿料 | Yes 是 |  |  | 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
75 | Yorkshire Asia Pacific Ltd | 約克夏 | Intratex PWO conc New | 英彩特 PWO conc New | Chemical Formulation 化学配方 | Fabric - Printing 面料-印花 | Resistant agents | 防染劑 | Yes 是 |  |  | 1 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0
76 | Yorkshire Asia Pacific Ltd | 約克夏 | Dyapol NBF NEW | 得亞寶 NBF NEW | Chemical Formulation 化学配方 | Fabric - Printing 面料-印花 | Fixing agent | 固色劑 | Yes 是 |  | Bluesign finder | 3 | [7 empty] | 0 | 0 | 2 | 0 | 0 | 0
78 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
79 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
80 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
81 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
82 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
83 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
84 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
85 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
86 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
87 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
88 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
89 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
90 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
91 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
92 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
93 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
94 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
95 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
96 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
97 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
98 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
99 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
100 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
101 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
102 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
103 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
104 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
105 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
106 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
107 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
108 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
109 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
110 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
111 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
112 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
113 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
114 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
115 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
116 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
117 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
118 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
119 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
120 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
121 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
122 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
123 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
124 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
125 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0
[20 empty] | 0 | 0 | 0 | 0 | 0 | 0

## CIL Ref
Scopes |  |  | Example - How to fill in chemical inventory | [9 empty] | ** Please keep the cells BLANK if certificates / testing reports are not available
Chemical use for processes includes | Not Includes |  | # | SUPPLIER NAME | 化学品供应商 (Chinese) | CHEMICAL NAME | 化学品名称 (Chinese) | Dyestuff/ Chemical Formulation/ Commodity Chemical 染料/ 化学配方 / 大化工 | Main production process involved 涉及的生产过程 | TYPE OF CHEMICALS / FUNCTIONS | 化学品类型 / 功能 (Chinese) | Used for AEO bulk orders (---) | GOTS (Approved) | BLUESIGN (Approved) | ZDHC (Level 1/2/3, Certified by 3rd party) | OEKO TEX (Eco-passport) (NOT Oekotex Standard 100) | GreenScreen Certified (Bronze / Silver / Gold) | Other Screened Chemistry Program, (e.g. SciveraLENS - Green/ Yellow, ToxService ToxFMD - Level 1/2/3) |  | Other Certificates | Other relevant testing reports | Opportunities for energy / water saving | Remarks
Bulk orders for both AEO and non AEO products Fabric production: - Fabric - Scouring - Fabric - Dyeing - Fabric - Finishing - Fabric - Sizing - Fabric - Coating/ Overdyeing - Fabric - Mercerization - Fabric - Desizing - Fabric - Sanforizing - Fabric - Printing - Fabric - Others Garment laundry / dyeing | Products at sampling stage Maintenance Tooling ETP R&D Sanitation Spot cleaning Laboratory |  | e.g. | COLORHI TEXTILE TECHNOLOGY CO.LTD. | 深圳塞化工有限公司 | Acid Enzyme ( FORYLASE ) | 中性酵素 | Chemical Formulation 化学配方 | Washing - Abrasion 磨 | Enzyme |  | Yes |  | Yes | Level 1 |  | Gold | SciveralLENS | Yellow |  | Intertek | Water saving
|  |  | e.g. | BOZZETTO GROUP TEXTILE CHEMICAL CO,.LTD | 卜塞特化工有限公司 | EMMASOFT 01 | 软油 | Chemical Formulation 化学配方 | Washing - Finishing 後整 | SOFTEING |  | Yes | Yes |  |  | Yes | [5 empty] | Water saving
AEO accepted certification program
Certification program | Category / Classification | Reference
ZDHC MRSL Conformance Certificate | Level 1 / Level 2 / Level 3 | https://www.roadmaptozero.com/input
| Example | https://www.scivera.com/zdhc-mrsl-level1/
GOTS approved | -- | https://www.global-standard.org/certification/how-to-get-chemical-inputs-approved.html
Bluesign® APPROVED | -- | https://finder.bluesign.com/index.html
OEKO-TEX | Eco- passport | https://www.oeko-tex.com/en/our-standards/eco-passport-by-oeko-tex
GreenScreen Certified | Bronze / Silver / Gold | https://www.greenscreenchemicals.org/certified/products
SciveraLENS | Green / Yellow | https://www.scivera.com/screenedchemistry2/
ToxFMD Screened Chemistry | Level 1/ Level 2/ Level 3 | https://www.screenedchemistry.com/certificates
Certificate valid for 18 months
Examples of chemical type
Commodity Chemicals 大化工 - Examples | Chemical Formulation 化学配方 - Examples
Soda ash/ Sodium carbonate 纯碱 / 苏打粉 | Desizing agent
Caustic soda/ Sodium hydroxide 烧碱 / 氫氧化鈉 | Enzyme
Sodium perborate 过硼酸钠 | Resin
Sodium sulphate 元明粉/ 硫酸钠 | Detergents / Scours / Wetting agent / Soaping agent / Soaping powder
Oxalic acid 草酸 | Silicone / Softener
Acetic acid 乙酸/ 醋酸 | Anti-ozone softener
Citric acid 柠檬酸 | Dyes (reactive, direct)
Sulfuric acid 硫酸 | Catalyst
Phosphoric acid 磷酸 | Binders / Adhesive
Sodium chloride 氯化钠 | Dispersant
Sodium thiosulphate 大苏打 / 硫代硫酸钠 | Additives / boosters/ Activator
Sodium metabisulfite 焦亚/ 焦亚硫酸钠 | Polymer
Potassium permanganate PP粉 / 高锰酸钾 | Solvent
Calcium hypochlorite 漂白精/ 次氯酸钙 | Anti-broken agent / Spandex protective agent / Tearing strength enhancers agent / Lubricant / Anti-stretching agent
Sodium hypochlorite 漂水 / 次氯酸钠 | Anti-backstaining agent / Crocking Enhancers agents
Hydrogen peroxide 双氧水/ 过氧化氢 | Anti-wrinkle agent
Others | Anti-reducing agent
Anti-yellowing agent
Anti-rust agent
Anti-form agent
Anti-foaming agent
Foaming agent
Levelling agent / Sequestering agent
Fixing agent
Brightening agent
Decolorizing agent
Cationizing agent
Cleaning agent
Stiffener
Water repellent
Other finishing agent
PP replacement
Neutralizer
Bleaching agent
Reducing agent
Others

## Production vol
For mills
| 2023 |  | 2024 |  | 2025
1.Total production volume | Amount | Unit | Amount | Unit | Amount | Unit
Yarn spinning |  | meter |  | meter |  | meter
Yarn spinning |  | kg |  | kg |  | kg
Yarn dyeing |  | meter |  | meter |  | meter
Yarn dyeing |  | kg |  | kg |  | kg
Weaving |  | meter |  | meter |  | meter
Weaving |  | kg |  | kg |  | kg
Knitting | 9526594.1734 | kg |  | kg |  | kg
Fabric dyeing |  | meter |  | meter |  | meter
Fabric dyeing | 9526594.1734 | kg |  | kg |  | kg
Fabric finishing |  | meter |  | meter |  | meter
Fabric finishing | 9526594.1734 | kg |  | kg |  | kg
2. By fabric type | Amount | Unit | Amount | Unit | Amount | Unit
Denim fabric - Splash dye |  | % |  | % |  | %
Denim fabric - Rope dye |  | % |  | % |  | %
Woven fabric - Piece dye |  | % |  | % |  | %
Woven fabric - Yarn dye |  | % |  | % |  | %
Woven fabric - prepared for dyeing (PFD) |  | % |  | % |  | %
Knits fabric - piece dye | 100 | % |  | % |  | %
Knits fabric - Yarn dye |  | % |  | % |  | %
Knits fabric - prepared for dyeing (PFD) |  | % |  | % |  | %
Others (Please specify: _____) |  | % |  | % |  | %
Total | 100 | % | 100 | % | 100 | %

## Renewable (hidden)
Facility Profile 工厂简介
Agent / Vendor name
Facility name
Facility Higg ID
Address
Country
Facility type (Cut-sew, laundry, fabric mill)
Contact person
Email
Self-owned / rented premises 自置/租赁房地
Any plan for facility relocation / stopping operation by year 2030? 2030年前工厂搬迁/停止运营的计划
Existing renewable energy at site / purchasing renewable energy offsite? (yes/no, how many % of total electricity consumption) 现有现场可再生能源/场外购买可再生能源？ （是/否，占总用电量的百分比）
Any plan to install / expand the solar rooftop system? 有计划安装/扩展太阳能屋顶系统吗？
Service provider 服务提供者 | Service provider 1 | Service provider 2 | Service provider 3
Name of service provider 名称
Type of service provider - Solar developers/ Consultants or engineering company/ Others - 太阳能开发商/顾问或工程公司/其他
Service provider website (if any) 服务提供者网站
Work experience with manfuaturing factories before (yes/no) 与工厂合作经验（是/否）
Type of assessment (onsite / desktop) 评估类型（现场/桌面） (At least one onsite assessment needs to be conducted 至少需要进行一次现场评估)
Proposal / feasibility study report attached? 提案/可行性研究报告附后？ (Please share the written feedback from at least two service providers if Solar Rooftop is not feasible for the facility) 如果“太阳能屋顶”不适用于该设施，请分享至少两个服务提供商的书面反馈。
Technical outputs | Service provider 1 | Service provider 2 | Service provider 3
Proposed rooftop area (m²) 屋顶面积
Height of the proposed buildings 建筑物的高度
Details of roof 屋顶 - Slope / inclination angle 倾斜角度 - Tile/ metal sheet/ concrete, etc 瓷砖/金属板/混凝土等
Maximum load the roof can carry the PV-rooftop system (kg/m2) 屋顶负载
Duration for installation (months) 安装时间
Proposed Rooftop solar capacity (kWp) 太阳能容量
Proposed number of PV modules 光伏组件数量
Estimated specific yield (kWh/kWp.year) 太阳能产量
Estimated electricity consumption saved (MWh) at the first year 第一年节省的电量
Estimated % of total electricity consumption 占总用电量的百分比
Estimated degradation rate / year (%) 退化率/年（％）
Estimated carbon emissions reduction (kgCO2/year) 碳减排放量
Others 其他
Financial outputs | Service provider 1 | Service provider 2 | Service provider 3
Total Investment Cost (USD) 总投资成本
Operation / Maintenance Cost (USD/year) 运营/维护成本
Estimated cost saving in first year (USD/year) 第一年节省成本
Estimated payback time (years) 投资回收期
Financing model | Service provider 1 | Service provider 2 | Service provider 3
Proposed financial model type (CAPEX/ Leasing/ Onsite PPA/ Others) 投资模型
Able to offer CAPEX model (yes/no) 能够提供直接投资 - CAPEX模型 Direct Investment (CAPEX - Capital expenditures) - 100% buy, own and operate by factory! The factory bears all the cost and risk for installing the system upfront, maintain and operate the project. The electricity produced by the solar system belongs to the factory and can be used for self consumption or fed into the grid.
Able to offer leasing model (yes/no) 能够提供租赁模型 Lease obligation and operation and maintenance (O&M) costs - The factory leases the solar system constructed on its roof. The electricity produced by the system belongs to the factory and can be used for self consumption or fed into the grid.
Able to offer on-site PPA model (yes/no) 能够提供现场PPA模型 Onsite Power Purchase Agreement (PPA) - Zero upfront investment by the factory. The developer owns the assets, all cost is covered by the PPA price. A long term agreement is needed between factory and developer. The factory only has to pay for the electricity consumed.
Incentive from local authority (yes/no) 从当地政府奖励计划
Factory comments 工厂意见 | Service provider 1 | Service provider 2 | Service provider 3
Will your facility consider this Solar Rooftop at this point? Why? 会考虑使用此太阳能屋顶吗？ 为什么？
Other comments 其他
AEO comments:
Facility feedback:

## Coal (hidden)
Facility Profile 工厂简介
Agent / Vendor name
Facility name
Facility Higg ID
Address
Country
Facility type (Cut-sew, laundry, fabric mill)
Contact person
Email
Self-owned / rented premises 自置/租赁房地
Any plan for facility relocation / stopping operation by year 2030? 2030年前工厂搬迁/停止运营的计划
Existing boiler brand 现有锅炉品牌
Existing boiler model 现有锅炉型号
Existing capacity - Steam Output (BTU/ Hr or Ton/ Hr) 现有容量-蒸汽输出 (1 ton = 12,000BTU)
Existing boiler efficiency % 现有锅炉效率
Existing boiler - Annual consumption of coal (ton) (2019) 现有锅炉-煤炭年消耗量
Any plan to replace the existing coal-fired boiler? 有计划替换现有的燃煤锅炉？
Service provider 服务提供者 | Service provider 1 | Service provider 2 | Service provider 3
Name of service provider 名称
Type of assessment (onsite / desktop) 评估类型（现场/桌面）
Proposal / feasibility study report attached? 提案/可行性研究报告附后？ (Please notify AEO directly via email if no alternative energy source is available for steam generation in that region) 如果该地区没有可用的替代能源来产生蒸汽，请直接通过电子邮件通知AEO
Techical outputs | Service provider 1 | Service provider 2 | Service provider 3
Alternative energy source (e.g. natural gas, diesel, wood, biomass - rice husk, etc) 替代能源（例如天然气，柴油，木材，生物质-稻壳等）
Boiler brand 锅炉品牌
Boiler model 锅炉型号
Capacity - Steam Output (BTU/ Hr or Ton/ Hr) 容量-蒸汽输出 (1 ton = 12,000BTU)
Maximum Working Pressure Water (PSI) 最大压力
Boiler efficiency % 锅炉效率
Estimated annual consumption of alternative energy source (ton/m3/Liter..) 替代能源的年消耗量
Duration for installation (months) 安装时间
Legal permit required for installation (yes/no) 法律许可
Limitation at the facility (e.g. space, piping, legal permit, operational issue, health and safety issue) 工厂的限制（例如空间，管道，法律许可，操作问题，健康和安全问题）
Estimated carbon emissions reduction (kgCO2/year) 碳减排放量
Financial outputs | Service provider 1 | Service provider 2 | Service provider 2
Total Investment Cost (USD) 总投资成本
Cost difference between coal and the alternative energy cost (e.g. increase 30%) 煤炭与替代能源成本之间的成本差异
Estimated - other extra cost compared to operating coal fired boiler (USD/year) 与运行燃煤锅炉相比的其他额外费用
Estimated annual cost saving (USD/year) (if any) 每年节省成本 （如果有）
Estimated payback time (years) (if any) 投资回收期（如果有）
Incentive / requirement from local authority (yes/no) 从当地政府奖励计划 / 要求
Factory comments | Service provider 1 | Service provider 2 | Service provider 2
Will your facility consider this coal phase-out project at this point? Why? 现在会考虑这个淘汰煤炭的项目吗？ 为什么？
Other comments